## Slide 1
MONARCH · CONTROLS → PYTHON MIGRATION
The new Python layer is talking to LabVIEW — live
First end-to-end connection test passed: the two systems exchanged data both ways, once a second, running side by side on the control-room PC — with no change to the safety-critical LabVIEW control.
THE TEST, IN PLAIN TERMS
▪ Built a minimal “hello” link between the new Python program and the existing LabVIEW system.
▪ LabVIEW streams a live value to Python once per second; Python sends commands back and LabVIEW acknowledges every one.
▪ Both ran on the same PC at once — and either side can restart and the link re-establishes itself.
ONE CONTROL-ROOM PC · BOTH RUNNING
NEW
Python
supervisory layer
EXISTING
LabVIEW
engine control
live data →
← commands
♥ heartbeat
PROOF IT WORKED
✔ PASS — two-way communication confirmed
Python console: live values every second → RESULT: PASS
LabVIEW side: Client Connected
UNDER THE HOOD
the LabVIEW test program
✓ Two-way link
✓ ~1 Hz updates
✓ Auto-reconnect
2026-07-02
Why it matters: connecting the two systems was the biggest unknown — now proven.
Next: move the first supervisory state machine into Python.